NSF IRES PROGRAM FOR DEVELOPING POINT-OF-CARE TESTING DEVICES FOR PATHOGEN DETECTION

Sangjin Ryu1,2, sryu2@unl.edu

1 – Department of Mechanical and Materials Engineering, University of Nebraska-Lincoln, Lincoln, NE;

2 – Nebraska Center for Materials and Nanoscience, University of Nebraska-Lincoln, NE.

The International Research Experiences for Students (IRES) program of National Science Foundation (NSF) offers international research opportunities to undergraduate and graduate students in STEM to develop globally engaged STEM workforce through international research experiences. My IRES program (NSF Grant No. 2246339) brings a cohort of undergraduate and graduate students Toyohashi University of Technology (TUT) in Japan for 8-week-long summer research experience.

The previous global COVID-19 pandemic showed the need for a reliable yet quick diagnostic method for detecting viral pathogens. Point-of-care testing (POCT) devices can meet the need because they provide cost effective, easy-to-use solutions with a high detection success rate. Microfluidics is an ideal technology for developing POCT devices because it allows for the miniaturization of larger-scale applications. Thus, utilizing microfluidics is beneficial for POCT because of reduced time, cost, and resources. The filter-free wavelength (FFW) complementary metal oxide semiconductor (CMOS) sensor can sense multiple wavelengths in the incident light without using any optical filters. Because of this unique functionality, the FFW CMOS sensor is also ideal for POCT devices as it cuts down on both the size and cost of the sensor.

My IRES program aims to integrate microfluidics and the FFW CMOS sensor in a portable platform and to develop a POCT device for efficient detection of infectious pathogens. The Year 1 cohort for summer 2024 consisted of three undergraduate students and one graduate student with various STEM backgroudns. Guided by faculty mentors, the Year 1 cohort gained a unique experience of underdoging the research process in a short time. After literature review and brainstorming, the cohort found that developing an engineering solution for well-controlled alignment between the microchannel device and the CMOS sensor was critical. Therefore, they focused on integrating the microfluidic channel device, the CMOS sensor, and the 3D printed case. The cohort successfully designed, fabricated, and tested a prototype of the integrated system. Experience and self-reflection from the first year will be used as the basis for improving the second year of the program.